## Sheet1
DATA | [5 empty] | CALCULATION TABLE
Outside diameter of horizontal pipe (D1) |  |  | 0.063 | m |  | Obs.No. | pressure (psig) | pipe position | Overall Q (J/s) | Overall Heat Flux (q) (J/m2.s) | Heat loss by radiation (J/m2.s) | Heat transfer by convection (J/m2.s) | h (J/m2.s.K) | Average h (J/m2.s.K)
Length of horizontal pipe (L1) |  |  | 0.655 | m
Outside diameter of vertical pipe (D2) |  |  | 0.063 | m
Length of vertical pipe (L2) |  |  | 0.635 | m |  | 1 | 6 | Horizontal | 123.9439 | 956.0782 | 724.134 | 231.9442 | 2.936 | 6.1477
Area of horizontal pipe (A1) |  |  | 0.12964 | m2 |  | 2 | 8 |  | 198.3102 | 1529.7251 | 762.259 | 767.466 | 9.3593
Area of vertical pipe (A2) |  |  | 0.12568 | m2 |  | 1 | 6 | Vertical | 104.1129 | 828.4003 | 724.134 | 104.2663 | 1.3198 | 4.2881
Ambient temperature |  |  | 29 | °C |  | 2 | 8 |  | 170.5826 | 1357.2833 | 762.259 | 595.0242 | 7.2564
OBSERVATION TABLE | [5 empty] | Theoretical Heat Transfer Coefficient
Obs.No. | pressure (psig) | pipe position | Steam temperature Ts (°C) |  | Condensate collected (kg) | Obs.No. | pressure (psig) | pipe position | hc (Btu/hr.ft2.°F) | hc (W/m2.K) | Average hc (W/m2.K)
1 | 6 | Horizontal | 108 |  | 0.05 | 1 | 6 | Horizontal | 2.9754 | 16.8704 | 16.9493
2 | 8 |  | 111 |  | 0.08 | 2 | 8 |  | 3.0032 | 17.0283
1 | 6 | Vertical | 108 |  | 0.042 | 1 | 6 | Vertical | 2.3803 | 13.4963 | 13.5595
2 | 8 |  | 111 |  | 0.069 | 2 | 8 |  | 2.4026 | 13.6226